[image: image1.jpg]


[image: image2.png]



University of Oregon

Student Recreation Center

Project Overview and System Narratives

UO Capital Construction and Operations Review

2/28/2012

The intent of this document is to provide an overview of the UO Student Recreation Center (SRC) expansion project and the various systems that support this expansion.  The attached information has been developed by and with our consultant team and describes our design intentions as we near the end of the Schematic Design phase of the work. 

This document includes the following:

1. General Information - RSA
2. Energy Goals - RDG
3. Sustainability Goals - RDG
4. LEED Checklist - RDG
5. Civil Narrative - KPFF
6. Landscape Narrative – Cameron McCarthy
7. Structural Narrative – M.R. Richards
8. HVAC, Plumbing, Electrical, and Technology Narrative – Interface Engineers
9. Lighting Narrative – RDG 
10. Fire Suppression and Alarm Narratives.- S.O. Creighton
11. Pool Systems Narrative. - Aquatics Design Group
12. Code Narrative - S.O. Creighton

13. Outline Specifications – RSA/RDG
14. Drawings.  Note that drawings are sent as a separate attachment and include architectural plans, sections and elevations, Utility plans, Landscape plans, Mechanical and Electrical diagrams.
Previously we distributed the survey, geotechnical information, and program information.  This is not repeated in this document.
General Information
The work included herein has been developed with the Project User Group (PUG) during the course of six workshops that have been held over the past several months.  In addition there have been three Integrated Design Workshops attended by the design consultant and UO facilities teams.

Location:  

The project area is located to the east of Esslinger Hall and south of the 1999 SRC in the area now occupied by the outdoor covered tennis courts.  These courts will be removed and the north end of the addition will attached to the existing 1999 SRC.  It will be bounded on the east by the existing bike path/playing fields and to the south by an existing access drive.  The existing parking area between Esslinger Hall and the west edge of the proposed addition will be repurposed as an open space containing sand volley ball courts.  Most if not all of the parking will be relocated elsewhere.  If Esslinger is ever removed in the future it is likely that the SRC would expand into this open area to replace spaces in Esslinger that they currently occupy.  Our intention is that the current plans do not hinder this likely future scenario. 
Plans:

There are three levels to this addition.  
Lower Level:  The lowest level is at 5” above the adjacent east field level and contains the east entry, a natatorium with a lap pool, leisure pool and two spas, a fitness area, wet classrooms, offices, a lower level of lockers and storage and pool mechanical rooms.  Along the new east entry will be toilet rooms serving the fields, a secure bike storage area, lockers, a lounge and an egress point for the natatorium and the exit stairs. This level has an outdoor south facing patio off the end of the natatorium.  
The construction of this level will require significant excavation, some of which will be into the rock noted in the geotechnical report.  For the most part the new construction is held away from the existing foundations of Esslinger and the 1999 Student Recreation Center.  It is assumed that the new north, west and portions of the south wall of this level will be concrete retaining walls with a perimeter drainage system.  Additional excavation will be required for the pools and surge tanks (refer to pool systems narrative).  There will be an electrical transformer vault located by the southwest corner of the building that will be accessible from the mechanical room and through a lid to the exterior (refer to the electrical narrative).  A new two stop elevator with opposing doors will connect this with the free zone on the main level and another 3-stop elevator will connect this level with the two levels above.
Main Level:  The main level aligns with the existing 1999 SRC main floor level (about 14’-5” above the fields) and includes the main control area along with locker rooms and fitness areas.  A portion of the floor of the new fitness area will align with the existing 1999 SRC gyms (4’-0” below the main level).  New exit stairs from this level to the east will be added to aid in exiting from the existing gyms.  The existing Leighton pool tank will be covered and repurposed as a storm water retention facility (refer to the structural and mechanical narratives).  The existing Leighton pool natatorium structure will be modified and portions of it will be used for an extended entry area and for expanded fitness areas.  There will be significant changes to the existing Esslinger locker room area and minor changes elsewhere in Esslinger Hall and the 1999 SRC.  
The construction of this level will be mostly trusses and joists supporting a steel deck and concrete floor built to 2-hour fire rated standards.  There will be a floor opening inter-connecting this level with the lower level.  This opening will have an automatic horizontal smoke shutter.  The east edge of this level will be cantilevered out over the east bike path and be supported by lines of wall and exterior columns.
Upper Level:  The upper level is about 14’-6” above the main level and has a three-court gym, group-exercise room, open fitness areas, maintenance room, toilet rooms, mechanical and storage rooms.  There is also an outdoor south and east facing outdoor patio with an outdoor basketball court at this level.  The west edge along with the toilet and mechanical rooms will be at the existing indoor track level (12’-0” above the main level) and there will be a sloped walk and steps up to the main new gym and fitness level 2’-6” above.  There will be a long linear sky light along the east wall of the gym to bring light down into the natatorium below.

The construction of this level will be mostly trusses and joists supporting a steel deck and concrete floor built to 2-hour fire rated standards.  There will be a floor opening in the fitness area between the new and existing gyms that will line up with the opening in the main level floor below.  No horizontal smoke shutter will be required at this level.  The east wall of the new gym will act as a very deep truss supported on columns in the natatorium below.  From this deep north/south wall-truss will hang the east/west trusses supporting portions of the gym floor and outdoor patio floors.  These trusses will be exposed in the natatorium below and will be made of steel pipe and tubes covered by 2-hour rated intumescent paint.  A portion of outdoor patio will reuse the existing resilient court flooring now located at the north end of covered tennis courts.  All of the patio will have concrete pavers set on pedestals set on a membrane roof over rigid insulation that is sloped to drain.
Roof:  There are no program areas on the roof.  For the most part the new roofs are flat and will have a membrane roof over rigid insulation sloping to roof drains and edges.  There will be skylights in the roof in the area between the new and existing gyms and monitors with skylights and ventilation openings in the roof over the new gym.  Solar water heating panels will be located on the roof.

Materials:

The building will be constructed to follow the UO Campus Construction Standards.  The list below is a general outline of systems.  A more detailed list of materials is included in the attached outline specifications.  Based on code requirement the building will be of non-combustible construction with two hour fire rated structural systems.  The type and use of individual spaces will determine the type of interior finishes based on concerns for durability, maintenance, acoustics or aesthetics.  The Recreation and Wellness Center on Western Oregon University campus is a good example of the level of quality expected for this project.  .   

Floors:  

· Concrete slab on grade or on pan system on steel structural framing members

· Stained and polished concrete in most public areas, ceramic tile at toilet and shower rooms, rubber or vinyl tiles/sheet goods at limited areas, resilient safety flooring at custodial rooms and carpet finishes at offices.  
· Wood flooring on resilient pads at gyms and new group-exercise rooms
· Concrete pavers on pedestals over sloped membrane roof at upper patio.

· Resilient court surface at upper patio basket ball court – reused from covered tennis court area.

Exterior Walls:

· Concrete or steel stud substrates.

· Brick masonry to match existing, exposed concrete, plaster/cemetitious materials, metal panel finishes.

· Aluminum storefront or curtain-wall, insulated glazing window systems with some operable windows
· Hollow metal doors and steel frames at service and mechanical entries and roll-up door at field storage room.

Interior Walls:

· Steel stud typical, concrete masonry units at natatorium and locker rooms and painted exposed concrete retaining walls at lower level mechanical and storage rooms.

· Veneer plaster, ceramic tile, or wood paneling wall finishes.

· Wood doors and relites in painted steel frames typical.

Ceiling Systems:

· Exposed painted structural systems at Natatorium and Gym

· Acoustic panels and veneer plaster soffits at most fitness areas.

· Suspended wood slat / veneer plaster at public circulation areas.

· Metal soffit panels at exterior ceiling along east edge over bike path.
Roof Systems:

· Concrete slab over trusses at patio, light weight steel framing at Gym, and possible reuse of covered tennis courts glu-laminated beams at upper level roof areas (except gym).

· Membrane roof finish over tapered rigid insulation, possible green roof, solar thermal panels or photovoltaic panels.

· Multi-layer sloped skylights with switched internal louvers for day light control.

Code Considerations:

The building is primarily considered an A Occupancy with some B Occupancy spaces.  The construction will be Type 1-B (non-combustible with 2-hour protected structural elements).  There are open steel trusses supporting the natatorium ceiling and the outdoor patio above.  These members will be covered by intumescent paint in order to meet 2-hour construction requirements. 
Design Objectives:

Ultimately the intent of the new construction is to create a durable and attractive, well day lit and energy efficient structure that could serve the campus community recreation needs for at least 100 years.  The facility will be designed to meet LEED Gold certification levels although the UO has not yet decided whether to actually seek certification.  

Energy Goals Associated with LEED

Using the Oregon Model for Sustainable Development as a guideline, the project team has focused on designing a high performance building with the intent of reducing energy consumption by 35% compared to code compliant facilities.   To accomplish this goal, a variety of strategies have been tested and refined during the team’s integrated design sessions.   Focusing on “value”, the project team has identified and prioritized systems and technologies that can produce a positive return on investment, including:  solar thermal technology, intelligent building controls & sensors, and the reuse of waste energy.  Additionally, our integrated design sessions,  with the assistance of the Energy Studies in Building Laboratory (ESBL),  have also refined concepts to optimize passive strategies, such as natural ventilation, thermal mass, and natural lighting.
Sustainability Plan
While not yet fully defined, this project holds great promise that construction waste management (CWM) strategies will be mandated for the construction trades.  This includes the separation of construction and demolition debris, as well as waste distribution to recycling and reclaims centers.   CWM goals include:

· Divert a minimum of 75% of the projects Construction & Demolition debris from the landfill

· Identify opportunities to reuse construction waste – for example, crushing concrete debris for use as sub-basis or clean backfill 

In addition to CWM, the project hopes to promote sustainable construction practices.  Practices will include: Third Party Commissioning of the buildings energy using systems, and may also include: Photographic documentation of the BMP’s implemented on the project, and Outdoor Air Flush of the entire facility – Pre Occupancy.   Additionally, it will be desirable to select materials that conform to the following principals:

· Locally sourced and sustainably harvested materials

· Materials manufactured with recycled and renewable content

· Healthy materials with low and/or no VOC content

Solar Technologies will be utilized on the project.  This includes:  Solar Thermal Collectors and Photovoltaic Array Panels.  The project has earmarked 1.5% ($xxx,xxx) of the construction budget to pay for solar technologies in compliance with the Oregon Model for Sustainable Development.  An energy model will be initiated during Design Development, and will help to identify the size / capacity of the solar technologies.  At this time, we assume a majority of the earmarked funds will be allocated to solar thermal technologies.  Solar Thermal technologies are a fundamental energy conservation strategy for the project, and will yield a very favorable return on investment (ROI) for the University.  Remaining funds will be allocated to additional solar technologies, and will be evaluated based on an informed decision making process - considering simple payback (ROI), environmental impact, as well as a technologies value as a demonstration/teaching tool.

The projects bio-climatic design is intended to harmonize with site natural environmental forces, such as:  thermal changes, solar capacity, and local wind patterns.   As such, the project has planned for thermal mass and operable fenestration to allow spaces to take advantage of natural ventilation.  A CFD analysis (computational thermal dynamics) will be initiated during Design Development.  The CFD analysis will allow the design team to “tune” the buildings fenestration and massing to optimize its potential for natural ventilation strategies – thus reducing the facilities energy consumption and carbon footprint.  While not yet fully defined, operable wall louvers, operable windows, and roof top ventilators will be fundamental to the success of a natural ventilation strategy.  It should be anticipated that these technologies will be implemented in large volume spaces, such as the new three-court gymnasium.
The project will be generously day lit with louver controlled skylights planned for over the large natatorium and 3-court sym spaces.  Lighting controls will make efficient use of artificial lighting.  The existing Leighton Pool shell will be repurposed for use as a storm water collection basin for gray water flushing and as energy sink for mechanical equipment use.  These along with energy efficient mechanical systems are outlined later in this report in the HVAC section.

UO Student Recreation Center

Systems Narratives
2/28/2012

