## sheet 1
|  |  | d2H | d13C | d18O | d17O
| Gas |  | VSMOW | VPDB | VSMOW | VSMOW
Other
|  | polyethylene | -100 | -32.15 |  |  | NIST
|  | Na-bicarb |  | -2.84 | 14.77 |  | Internal
| CO2 | Oztech blue bottle |  | -44.32 | 9.35
| CO2 | Ind.Source cylinder 2006 original |  | -35.84 | 35.712 |  | v.Oztech
| CO2 | Ind.Source cylinder 2015-Sept-16 |  | -35.94 | 35.0933 |  | v.Oztech
| CO2 | Lavender bottle 2012-Jan-09 |  | -35.898 | 35.0892 |  | v.Oztech
| CO2 | Lavender bottle 2014-Nov-18 |  | -35.907 | 35.0113 |  | v.Oztech
| CO2 | Lavender bottle 2015-Sept-16 |  | -35.94 | 35.0933 |  | v.Oztech
| CO2 | Lavender bottle 2016-Oct-14 |  | -35.95 | 35.09 |  | v.Oztech
| CO2 | Lavender bottle 2020-May-26 |  | -35.909 | 35.472 |  | v.Oztech
| CO2 | Lavender bottle 2020-Dec-01 |  | -35.9102 | 35.4363 |  | v.Oztech | Measured with Ellen's tank, never used in Isodat
| CO2 | Lavender bottle 2022-Aug-31 |  | -35.9042 | 35.7233 |  | v.Oztech
| CO2 w/ He | Airgas cylinder 0.3% CO2 in helium |  |  | -12.21 |  | v.Oztech | Gasbench Calibration
| CO | Ottawa blue bottle |  | -55.5 | -5.5
| CO | Industrial Source cylinder |  |  | 9.05 |  | v.Ottawa | Retired
| H2 | Oztech blue bottle | -128.01
| H2 | Ind.Source cylinder 2006 original | -243.448 |  |  |  | v.Oztech
| O2 | UW Isolab filled Feb 2020 |  |  | -8.636 | -4.5344
| O2 | green bottle vs. UW Feb 19 2020 |  |  | 25.955 | 13.164 | v.UW
| O2 | green bottle vs. UW Nov 23 2020 |  |  | 25.92 | 13.171 | v.UW
| O2 | green bottle vs. UW Mar 30 2023 |  |  | 25.863 | 13.124 | v.UW
Isodat standards editor:
| O2 | UW Isolab filled Feb 2020 |  |  | -8.636 | -4.5344
| O2 | UW_heavy |  |  | 21.736 | 11.093
| O2 | "green tank Boettcher" |  |  | 25.863 | 13.124
| O2 | "green tank_calibration" |  |  | 23.587 | 12.043
Isodat standards editor needs a new record named "green bottle vs. UW" with these same values
and updated method files