Section L1: LAB 1--INTRODUCTION TO Motion

General Introduction

In this lab, students are introduced to the representation of motion graphically.  They are also introduced to the relationships between velocity and acceleration and position and velocity for motion at a constant velocity.  Vectors are introduced as simple representations of velocity for motion in one dimension, in the positive and negative directions.

Lab 1 Equipment and Supplies List

•	computer-based laboratory system

•	motion detector

•	RealTime Physics Mechanics experiment configuration files

•	number line on floor in meters (optional)

•	cart with very little friction

•	smooth ramp or other level surface 1.2-2.5 meters long

Motion Detector:  A number of motion detectors are available, for example Vernier MD-BTD for the LabPro or LabQuest interfaces or PASCO CI-6742A for the Science Workshop interfaces.  These motion detectors are sonar devices, sending out pulses of ultra-sound with a frequency range around 50,000 Hz.  (The rate of emission of these pulses is generally adjustable from 10 to 50 per second.)

After a pulse is emitted, the motion detector converts from a transmitter to a receiver, and listens for echoes.  By timing the delay from sending a pulse to receiving an echo, and using the speed of sound in air, the software determines the distance from the detector to the object that reflected the pulse.  The software then plots these distances as a function of time.  Velocities and accelerations are calculated in real time using a fit to the distance data.

Student body motions have been shown to be very effective in teaching kinematics concepts.  Four precautions are necessary to assure reasonable results:

1.	Some motion detectors will not correctly measure objects closer than 0.5 meter from them, although the newer ones will measure as close as 0.15 m.  Be sure that students never get closer than the minimum specified distance from the motion detectors.   Most motion detectors should be able to detect objects out to at least 4 meters.

2.	Most motion detectors send out ultrasonic waves in a cone of about 15°.  The detector will “see” the closest object to it within this cone.  Extraneous objects should be cleared from students' paths.  Be sure to leave lots of room!  If the motion detector is consistently seeing something at a fixed distance from it, read this distance off the distance-time graph (or using the analysis feature of the software) and check for objects at that distance from the motion detector.  Occasionally the motion detector will see even small cracks in the table or floor.  Tilting it a bit upwards usually solves this problem.

3.	The motion detector will detect small movements of arms, bends of the waist, etc.  Best results will be obtained if the motion detector is high enough to be aimed at the chest rather than the legs.

4.	Ultrasonic waves are absorbed by bulky materials like Fiberglas and wool.  Therefore, the motion detector may not properly see students wearing bulky sweaters.  The result is that the maximum distance will be recorded.  The best idea is to have the student remove the sweater, if possible.  Holding a card or book against the body in front of the motion detector will generally work, but the card (or book) must be held steady while walking, not carelessly moved or waved.

Some last considerations.  At a data rate of 20 per second, a data point is measured every 0.05 seconds.  While some averaging is used in calculating velocities and accelerations, the graphs display a real-world look at body motions.  These generally are not smooth—like textbook graphs—unless careful efforts are made to move in a smooth, non-jerky fashion.  Smooth, short, shuffling steps will give the most uniform, easiest to interpret graphs.  Students are generally able to decide which features of a graph are important.  Data and averaging rates should be chosen appropriately for the moving object, if you choose to change them from the values assigned in the RealTime Physics experiment configuration files.  If motion is looked at over too short a time, the small motions made by clothes, for example, can cause substantial bumps on velocity and acceleration graphs of moving students.  If motion is looked at over too long a time, the measurements will not appear responsive to student movements.

Investigation 1:  Distance (Position)-Time graphs of your motion

Equipment and Supplies

•	computer-based laboratory system

•	motion detector

•	motion software

•	RealTime Physics Mechanics experiment configuration files

•	number line on floor in meters (optional)

Activity  1-1:  Making and Interpreting Distance-Time Graphs

Figure L1-1 is a typical distance (position) graph showing someone walking away from the motion detector at a constant, slow velocity, as in Activity 1-1, 3 (a).

| Figure L1-1: Distance-time graph for walking slowly and steadily away from the motion detector. |  |
| --- | --- |

If you get spikes on your position graphs, it is likely that the motion detector is not aimed correctly, and is intermittently missing your body.  Be sure that you are walking in a line straight away from the motion detector.  If the position graph levels out at a certain distance and continues as a horizontal line even though you are still moving away, this indicates that some other object is in the way between you and the motion detector.  Check the distance where it levels out using the analysis feature of the software, and look for any objects that might be in the way.

While “distance” from the motion detector is a perfectly good description of what is being graphed, “position” is the more common term used in most textbooks.  Therefore, the write-up quickly shifts to “position-time” graphs.

Question	1-1:  A distance-time graph made by walking away slowly will have a smaller slope than one made by walking away quickly.

Question 1-2:  Walking toward results in a decreasing distance with time, while walking away results in an increasing distance with time.

Question 1-3:  Depends on student measurements.

Activity 1-2:  Matching a Position-time Graph

The Position Match graph is displayed persistently on the screen when a new graph is plotted.  It can only be removed by hiding or clearing it using the features of the software.

Students’ experiences trying to match the portions of the graph with different slopes consolidate their learning from Activity 1-1.  After a few tries, they should be able to match this graph.

Question 1-4:  The first sloped portion required walking faster away from the motion detector than the second sloped portion.

Activity 1-3:  Other Position-time Graphs

The second part of this activity is the students’ first look at accelerated motion.  The intent is for them just to see that these are different than the previous graphs in that the slopes of the position-time graphs are changing.

Question 1-5:  Straight-line position-time graphs represent motion in which the position is changing at a steady rate (constant velocity) while curved-line graphs represent motion in which the rate of change of position is changing (changing velocity).

Investigation 2:  Velocity-time graphs of motion

Equipment and Supplies

•	computer-based laboratory system

•	motion detector

•	RealTime Physics Mechanics experiment configuration files

•	number line on floor in meters (optional)

Overview

Students generally have more difficulty with velocity-time graphs than with position-time graphs.  The software measures position from the motion detector, and calculates velocity from the position data.

Activity 2-1:  Making Velocity Graphs

Figure L1-2 is a typical velocity graph showing someone walking away from the motion detector at a constant, slow velocity, as in Activity 2-1, 2 (a).  Note that the individual steps can be seen as bumps on the velocity-time graph.  These can be minimized by taking care not to swing your arms or jerk your body as you walk.  Small shuffling steps are best.

| Figure L1-2: Velocity-time graph for walking slowly and steadily away from the motion detector. |  |
| --- | --- |

Question 2-1:  The graph made by walking slowly away is not as high above the time axis as the one made by walking quickly.  That is, the velocity has smaller positive values.

Question 2-2:  The velocity values are positive (above the time axis) for walking away, and negative (below the time axis) for walking toward.

Question 2-3:

Activity 2-2:  Matching a Velocity Graph

Matching the velocity graph is harder for the students.  One common mistake on the first try is to jump at 4 seconds and then not continue moving.

The Velocity Match graph is purposely designed with a longer motion toward the motion detector than away, in order that most students will crash into the motion detector on the way back.  When they adjust by starting further away, it illustrates the important point that a velocity-time graph does not tell you anything about the position where the motion began.

Question 2-4:  Stood at rest for first 4 seconds.  Then walked with a moderate constant velocity away from the motion detector for the next 4 sec.  Then stood at rest for the next 4 sec.  Then walked with the same size constant velocity toward the motion detector for the next 6 sec.  Then stood at rest for the last 2 sec.

Question 2-5:  An absolutely vertical line would mean that velocity changed from zero to some finite value in zero time.  This is not possible.  It must take some time to speed up (accelerate).

Question 2-6:  Ran into motion detector because the velocity match graph says to walk away for 4 seconds and then back for 6 seconds at the same magnitude constant velocity.  This can be solved by starting out further away from the motion detector.

Question 2-7: The velocity-time graph only tells you the velocity at any moment; it does not tell you the position.  Therefore the velocity-time graph is the same no matter where you start your motion.

Extension 2-3:  More Velocity Graphs

This extension expands on the velocity and position concepts explored in this investigation.  The first activity looks further at the idea that there is no position information displayed on a velocity-time graph.  The second looks at a common student misconception:  that the velocities of two objects are the same as one passes the other.

Question E2-8:  The two graphs should look identical.  You cannot tell from a velocity-time graph the position where the motion started, or, for that matter, any other position.

Question E2-9:  When an object passes another, the two objects are at the same position.  They are not moving at the same velocity.

investigation 3:  relating position and velocity graphs

Equipment and Supplies

•	computer-based laboratory system

•	motion detector

•	RealTime Physics Mechanics experiment configuration files

•	number line on floor in meters (optional)

Overview

In this investigation, the relationship between position and velocity graphs is explored.  The concept of average velocity is introduced, and several ways of finding the average velocity are explored.

Activity 3-1: Predicting Velocity Graphs from Position Graphs

Question 3-1:  If you moved faster, the slope of the position graph would be greater.  If you moved slower, the slope of the position graph would be smaller.

Question 3-2: If you moved faster, the velocity graph would be higher above the time axis.  If you moved slower, the velocity graph would be closer to the time axis.

Activity 3-2:  Calculating Average Velocity

It is important to make as accurate a duplicate of the position-time graph as possible.  It is also important that students take their data for position and velocity during the time interval when they moved with a constant velocity.  The two methods for calculating average velocity are equivalent, and should give the same value.

Question 3-3:  Average velocity is positive because you must walk away from the motion detector to produce the given position-time graph.  Another way of looking at this is that the position-time graph has a positive slope.

Question 3-4:  They should agree.  If they are different, it is possible that the velocity was not constant, and the time intervals used in the two methods were different.

Extension 3-3:  Using Statistics and Fit to Find the Average Velocity

These are two mathematical methods built into the software.  Finding the mean value is the same as reading a number of values from the velocity-time graph, only the software averages all values within the time interval selected.  Finding the slope of the line that fits the position-time graph is equivalent to taking two points and calculating the change in position divided by the change in time, but the slope can be found more accurately in this way.

Question E3-5:  The values should be essentially the same, but the statistics method is more accurate.

Question E3-6:  In the equation y = b + mt, b is the value of x when t = 0.  It is your position when the motion detector started taking data.

Question E3-7:  The values should agree with each other.

Activity 3-4:  Predicting Position Graphs from Velocity Graphs

It is important to make as accurate a duplicate of the velocity-time graph as possible.  Of course, the vertical rises and falls of velocity are not possible.  Students should be able to do this pretty well having experienced the Velocity Match.

Question 3-8:  The velocity goes through zero whenever the direction of motion changes.

Question 3-9:  The position-time graph is a line with a constant slope.

Question 3-10:  The velocity-time graph is a straight horizontal line.

Investigation 4:  Introduction To acceleration

Equipment and Supplies

•	computer-based laboratory system

•	motion detector

•	RealTime Physics Mechanics experiment configuration files

•	cart with very little friction

•	smooth ramp or other level surface 1.2-2.5 meters long

Overview

It is impossible to make easily interpretable acceleration graphs with body motions.  The motion is too jerky, and results in very spiky acceleration graphs.  Therefore, a cart and a ramp are used.

It is important to have very smooth ramps and low friction carts.  Every little change in the motion of the cart caused by small cracks or scratches on the ramp will be seen on the acceleration graphs.  Both PASCO and Vernier tracks and low friction carts work well.  Aluminum door thresholds often have grooves cut in them that have the right separation for the wheels on the PASCO or Vernier carts, and can be substituted for the more expensive tracks.  (It is actually necessary only for one set of wheels to ride in a groove.) The thresholds are flexible, and do need to be mounted on boards. Tables with Formica tops will also work well, but do not provide a guide for the motion of the cart.  For more information, see the Overview for Investigation 1 in Section IV—Lab 2, Changing Motion.

Only motion with a constant velocity is considered here.  Motion with a changing velocity (accelerated motion) is explored in Lab 2.

Activity 4-1:  Motion of a Cart at a Constant Velocity

Figure L1-3 shows typical position and velocity graphs for a cart moving at a constant velocity away from the motion detector, as in Activity 4-1.

| Figure L1-3: Position and velocity graphs for a cart moving away from the motion detector at a constant velocity as in Activity 4-1. |  |
| --- | --- |

Question 4-1:  Depends on student measurements.  Constant velocity motion is characterized by a straight inclined line with constant slope on a position-time graph.

Question 4-2: Constant velocity motion is characterized by a straight horizontal line on a velocity-time graph.

Activity 4-2:  Acceleration of a Cart Moving at a Constant Velocity

Figure L1-4 shows the acceleration and velocity graphs for the same motion of the cart, as in Activity 4-2.

| Figure L1-4: Acceleration and velocity graphs for the same motion as in Figure L1-3. |  |
| --- | --- |

Question 4-3:  Since the velocity is relatively constant after the cart is moving, the rate of change in velocity should be close to zero.  The acceleration-time graph agrees with this.  The acceleration is zero.

Question 4-4:

Question 4-5:

Since the change in velocity is always zero, the acceleration is always zero.  This is in agreement with the acceleration graph.

Homework for Lab 1:  Introduction to motion

Position-Time Graphs

Answer the following questions in the spaces provided.

Sketch the position-time graph corresponding to each of the following descriptions of the motion of an object.

Velocity-Time Graphs

After studying the velocity-time graphs you have made, answer the following questions:

| 1. How do you move to create a horizontal line in the positive part of a velocity-time graph, as shown on the right? Walk with a constant speed away from the origin. |  |
| --- | --- |
| 2. How do you move to create a straight-line velocity-time graph that slopes up from zero, as shown on the right? Walk away from the origin with a steadily increasing speed. |  |
| 3. How do you move to create a straight-line velocity-time graph that slopes down, as shown on the right? Walk away from the origin with a steadily decreasing speed. |  |
| 4. How do you move to make a horizontal line in the negative part of a velocity-time graph, as shown on the right? Walk with a constant speed towards the origin. |  |

5. 	The velocity-time graph of an object is shown below.  Figure out the total change in position (displacement) of the object.  Show your work.

Displacement = _____8_______ m     d = vavt = (0)(2) + (2)(6-2) + (0)(10-6) = 8 m

6.  	Both of the velocity graphs below, 1 and 2, show the motion of two objects, A and B.  Answer the following questions separately for 1 and for 2.  Explain your answers when necessary.

| a) Is one faster than the other? If so, which one is faster? (A or B) After t=0, A is always faster than B. b) What does the intersection mean? A and B have the same velocity at t=0 | a) Is one faster than the other? If so, which one is faster? (A or B) Up to the time the graphs intersect, A is faster. Then B is faster. b) What does the intersection mean? A and B have the same velocity at that instant. |
| --- | --- |

| c) Can you tell which object is "ahead"? (define "ahead") No. Velocity graphs do not tell the positions of the objects. d) Does either A or B reverse direction? Explain. No. Reversing direction means velocity must go through zero and become negative. | c) Can you tell which object is "ahead"? (define "ahead") No. Velocity graphs do not tell the positions of the objects. d) Does either A or B reverse direction? Explain. No. Reversing direction means velocity must go through zero and become negative. |
| --- | --- |

Sketch the velocity-time graph corresponding to each of the following descriptions of the motion of an object.

11.	Draw the velocity graphs for an object whose motion produced the position-time graphs shown below on the left.  Position is in meters and velocity in meters per second.  (Note:  Unlike most real objects, you can assume these objects can change velocity so quickly that it looks instantaneous with this time scale.)

12.	Draw careful graphs below of position and velocity for a cart that—

a.	moves away from the origin at a slow and steady  (constant) velocity for the first 5 seconds.

b.	moves away at a medium-fast, steady (constant) velocity for the next 5 seconds.

c.	stands still for the next 5 seconds.

d.	moves toward the origin at a slow and steady (constant) velocity for the next 5 seconds.

e.	stands still for the last 5 seconds.