SECTION CS:  General Computer Hardware and Software Notes

Notes on Microcomputer-Based Laboratory (MBL) Systems

A number of different systems are available for microcomputer supported collection, display and analysis of data.  For example there are the LabPro and LabQuest interfaces from Vernier Software,1 and the Science Workshop interface series from PASCO Scientific.2  Any of these will work with both Macintosh and Windows computers.

Temperature and pressure sensors required for the RealTime Physics Heat and Thermodynamics  experiments are available from both of these suppliers for both of these interfaces. Software packages are available with each of these systems.  Vernier’s  Logger Pro (for Macintosh and Windows) and PASCO’s Data Studio software both allow the use of a temperature sensor and a pressure sensor, or two temperature sensors.

Since RealTime Physics Heat and Thermodynamics is designed to be independent of the MBL hardware/software system, specific software directions are not included in the curriculum. However, since the students are using the same user-friendly software and tools each week, it is our experience that they quickly master its use.

In addition, Experiment Configuration Files allow students to set up the software by just opening one file with appropriate settings for each activity. RealTime Physics Heat and Thermodynamics Experiment Configuration Files for Logger Pro are on the disk from Vernier Software and Technology, in the Experiments folder. For Data Studio, the Experiment Configuration Files can be downloaded from the PASCO website, free of charge. All of the setup features are given in Appendix A of this Guide.

Which MBL system should you adopt? Both Vernier and PASCO interfaces and software are compatible with most of the activities in RealTime Physics Heat and Thermodynamics. (See comments below about the heat pulser.) The one exception is the use of video analysis in Module 1, Lab 10 and Module 3, Labs1 and 10, since only Vernier LoggerPro has video analysis incorporated. (See comments below about video analysis.)

In selecting the interface, software and hardware system several considerations are important:

1.	Do the interface, software and hardware have the flexibility you will need for your present and future laboratory needs? Is the system expandable to other areas of physics that you wish to include in the laboratory?

2.	Is the software user friendly?  Does it support your pedagogical goals?  Are data easily displayed in a manner that supports collaborative, active learning in the laboratory?

3.	Are active learning curricula that meet your laboratory objectives supported by the system?

Only you can decide. We suggest that you spend enough time trying both systems with a number of activities from each module, before making a decision.

Notes on Temperature and Pressure Sensors

There are a variety of temperature sensors available, but each sensor operates on the same general principles. As the sensor's temperature changes, its electrical properties change. This change is reflected in a change in the electrical signal sent to the interface, and, in turn, a change in the digital signal sent to the computer.  The digital signal is displayed by the software as temperature. Sensors with a range roughly from -5 to 105 °C will be needed. Details of your temperature sensors may be found in the descriptive materials shipped with them.

In all cases, the temperature sensors are fragile.  The wires connecting the sensor to the interface can be pulled out of the top of the sensor or broken.  Therefore, the temperature sensor should never be used as a stirring rod.  Provide students with a less expensive stirring rod!

In general, temperature sensors come with a reasonable calibration. While calibration is examined as the first step in RealTime Physics Heat and Thermodynamics  Lab  1: Introduction to Heat and Temperature, sensors should not need to be calibrated, and can be used “out of the box.”.

There are also a variety of pressure sensors covering different ranges of pressure.  In general, these also do not need to be calibrated.  A sensor with a range of 0 to roughly 6-7 atmospheres will be needed for RealTime Physics Heat and Thermodynamics.

About the Heat Pulser

A Heat Pulser is used extensively in RealTime Physics Heat and Thermodynamics Labs 1 - 4. It is extremely useful because it allows measured amounts of heat energy to be transferred by pressing a key on the keyboard.

The Heat Pulser consists of a relay box that powers a 120-volt outlet. A simple, inexpensive immersion heater is plugged into the outlet. Heat Pulsers are available from Vernier Software for their interfaces. No Heat Pulser is available from PASCO. The immersion heaters are readily available in hardware, department and discount stores.  They generally have a power rating of about 200 W.

In the Logger Pro program, each time you click the Pulse button, the immersion heater should turn on. The length of time that the heater stays on can be set in the software.

Notes on Video Analysis

Video analysis is a powerful and educationally effective tool for both advanced physics majors and introductory physics students. Students find video capture and analysis to be compelling and effective aids to learning. Vernier LoggerPro incorporates the ability to mark the positions of objects in a video, frame-by-frame, and to extract and analyze the data. This can be done with already produced movies of physical situations, or with movies that students produce in and outside of the laboratory. Video analysis is incorporated in RTP Mechanics, Lab 1 and in Electricity and Magnetism Lab 1: Electric Charges, Forces and Fields and Lab 10: Electromagnetism.  If you are using PASCO MBL software, you will need to also have video analysis software. Purchasing one copy of LoggerPro is a reasonable approach, since Vernier’s generous site license allows one copy to be used in all classes on your campus, and even allows students to take a copy for use at home.

References

phone plug.v2 001

1 Vernier Software and Technology, 13979 SW Millikan Way, Portland, OR 97225-2886, 503-277-2299 (888-837-6437), http://www.vernier.com.

2 PASCO Scientific, PO Box 619011, 10101 Foothills Blvd., Roseville, CA 95747-7100, 916-786-3800 (800-772-8700), http://www.pasco.com.