appendix a:  realtime physics Electricity and magnetism EXPERIMENT CONFIGURATION FILES

Listed below are the settings in the Experiment Configuration Files used in these labs.  These files are available from Vernier Software and Technology for Logger Pro software (Windows and Macintosh) and from PASCO for Data Studio (Widows and Macintosh).  They are listed here so that the user can set up files for any compatible hardware and software package.

| Experiment File | Description |  | Data Collection |  | Data Handling |  | Display |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Coulomb’s Law (L01A2-3) | Displays movie with interactive video analysis. |  | Manual using video analysis. |  | NA |  | Movie with video analysis tools. |  |
| Force vs. r (L01A2-4) | Displays data table and axes for Force vs. r. Data can be entered into the table, and an active graph results. |  | Data are entered manually by double clicking on spaces in the data table. |  | NA |  | One set of axes with appropriate scales in N and m. |  |
| Flux vs. Angle (L02A1-3) | Displays data table and axes for Flux vs. Angle. Data can be entered into the table, and an active graph results. |  | Data are entered manually by double clicking on spaces in the data table. |  | NA |  | One set of axes with appropriate scales in W and Degrees. |  |
| Measuring Force (L03A1-3) | Displays and graphs Force vs. time. |  | 20 points/sec. |  | Use Analysis Feature to find mean force. |  | One set of axes for Force in N vs. time in s. |  |
| Current Model (L04A1-5) | Displays and graphs Current1 and Current2 vs. time. |  | 25 points/sec Curent sensors 1 and 2 Digital and graphical display of inputs. |  | NA |  | Two sets of graph axes with lines. Current: -.6 to +.6 A Time: 0-10 sec |  |
| Two Voltages (L04A2-4a) | Displays and graphs Voltage1 and Voltage2 vs. time. |  | 25 points/sec Voltage sensors 1 and 2 Digital and graphical display of inputs. |  | NA |  | Two sets of graph axes with lines. Voltage: -5 to +5V Time: 0-10 sec |  |
| Current and Voltage (L04A2-4b) | Displays and graphs Voltage1 and Current2 vs. time. |  | 25 points/sec Voltage sensor 1 and Current sensor 2 Digital and graphical display of inputs. |  | NA |  | Two sets of graph axes with lines. Voltage: -5 to +5V Current: -.6 to +.6 A Time: 0-10 sec |  |
| Two Currents (L06A1-2) | Displays and graphs Current1 and Current2 vs. time. |  | 25 points/sec Curent sensors 1 and 2 Digital and graphical display of inputs. |  | NA |  | Two sets of graph axes with lines. Current: -.6 to +.6 A Time: 0-10 sec |  |
| Batteries (L06A1-2) |  | Displays and graphs Voltage1 and Voltage2 vs. time. |  | 25 points/sec Voltage sensors 1 and 2 Digital and graphical display of inputs. |  | NA |  | Two sets of graph axes with lines. Voltage: -5 to +5V Time: 0-10 sec |

| Internal Resistance (L06A2-2) | Displays and graphs Voltage1 and Current2 vs. time. |  |  | 25 points/sec Voltage sensor 1 and Current sensor 2 Digital and graphical display of inputs. | NA |  | Two sets of graph axes with lines. Voltage: -5 to +5V Current: -.6 to +.6 A Time: 0-30 sec |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ohm’s Law (L06A3-1) |  | Displays and graphs Current1 and Voltage2 vs. time. | 25 points/sec Current sensor 1 and Voltage sensor 2 Digital and graphical display of inputs. |  |  | NA |  | Two sets of graph axes with lines. Voltage: -5 to +5V Current: -.6 to +.6 A Time: 0-30 sec |
| Dependence of C (L08A1-2) |  | Displays data table and axes for Capacitance vs. Area (or Separation). Data can be entered into the table, and an active graph results. | NA Data are entered manually by double clicking on spaces in the data table. |  |  | NA |  | One set of graph axes. Cap.: 0-1.0 nF Area: 0-0.5 m2 Sep.: 0-100 mm |
| Capacitor Decay (L08A3-1) |  | Displays and graphs Current1 and Voltage2 vs. time. | 25 points/sec Current sensor 1 and Voltage sensor 2 Digital and graphical display of inputs. |  |  | NA |  | Two sets of graph axes with lines. Voltage: -5 to +5V Current: -.6 to +.6 A Time: 0-20 sec |
| Measuring Mag. Field (L09E1-7) | Displays magnetic field |  |  | NA | NA |  | Digital display. |  |
| Magnetic Field (L10A1-1) | Displays magnetic field |  |  | NA | NA |  | Digital display. |  |
| Sample Movie (L10A3-1) | Displays movie, and graphical display of Emf vs. time. |  |  | NA | NA |  | Movie and graph of Emf vs. time. |  |
| Movie A (L10A3-2A) | Displays movie. |  |  | NA | NA |  | Movie |  |
| Movie B (L10A3-2B) | Displays movie. |  |  | NA | NA |  | Movie |  |
| Movie C (L10A3-2C) | Displays movie. |  |  | NA | NA |  | Movie |  |
| Movie D (L10A3-2D) | Displays movie. |  |  | NA | NA |  | Movie |  |