## Summary
[6 empty] | d2H | d13C | d18O | d18O | d17O
Minerals |  |  | NIST # | Name |  | VSMOW | VPDB | VSMOW | VPDB | VSMOW
Silicates for O
|  | garnet |  | Gore Mtn. (UWG) |  |  |  | 5.75 |  |  | internal
|  | garnet |  | Gore Mtn. (UOG) |  |  |  | 6.52 |  |  | internal
|  | silica sand | 8546 | NBS28 | SiO2 |  |  | 9.58 |  |  | NIST
|  | quartz |  | IPQ | SiO2 |  |  | 12.33 |  |  | internal
|  | olivine |  | San Carlos (SCO) | Mg2SiO4 |  |  | 5.25 |  |  | internal
Silicates for D
|  | biotite |  | Banco Bonito |  | -76 |  |  |  |  | internal
|  | biotite |  | Water Canyon |  | -106 |  |  |  |  | internal
|  | Sericite |  | Misasa |  | -61 |  |  |  |  | internal
|  | lepidolite |  | Tanco zone 9 |  | -84.9 |  |  |  |  | internal
|  | Muscovite |  | RUH2 |  | -81.7 |  |  |  |  | internal
|  | biotite |  | BUD (Butte, Dilles) |  | -151 |  |  |  |  | internal
|  | biotite | 8538 | NBS30 |  | -49.9 |  | 5.1 |  |  | NIST
|  | biotite |  | USGS57 |  | -91 |  |  |  |  | USGS
|  | Muscovite |  | USGS58 |  | -28 |  |  |  |  | USGS
|  | polyethylene |  | USGS77 |  | -75.9 | -30.71 |  |  |  | USGS
|  | caffeine |  | USGS62 |  | -156.1 | -14.79 |  |  |  | USGS
Carbonates
|  | Marble |  | Carara | CaCO3 |  | 2.01 |  | -1.75 |  | internal
|  | calcite | 8544 | NBS19 | CaCO3 |  | 1.95 | 28.65 | -2.2 |  | NIST
|  | Marble |  | MCA-7 | CaCO3 |  | 2.18 | 21.78 |  |  | internal
|  | calcite |  | MCA-8 | CaCO3 |  | -31.5 | 16.79 |  |  | internal
|  | carbonatite |  | MCA-9 |  |  | -6.3 | 7.18 |  |  | internal
|  | limestone |  | KH-2 | CaCO3 |  | 1.94 | 27.8 |  |  | internal
|  | carbonatite | 8543 | NBS18 |  |  | -5.01 | 7.2 | -23.01 |  | NIST
|  | Li-carbonate | 8545 | L-SVEC | Li2CO3 |  | -46.6 | 3.69 | -26.41 |  | NIST
Miscellaneous
|  | sulfide | 8556 | NBS123 | ZnS | [5 empty] | NIST
|  | sulfate | 8557 | NBS127 | BaSO4 |  |  | 8.6 |  |  | NIST
|  | phosphate |  | TU-2 | AgH2PO4 |  |  | 5.45 |  |  | Internal
|  | sodium bicarbonate |  | SB08 | NaHCO3 |  | -2.8444
Waters
|  | water |  | USGS 53 Lake Shala | H2O | 40.2 |  | 5.47 |  |  | USGS
|  | water | 8535 | VSMOW | H2O | 0 |  | 0 |  |  | USGS, NIST
|  | water |  | W62001 | H2O | -41.1 |  | -6.25 |  |  | USGS
|  | water |  | USGS47 Lk. Louise | H2O | -150.2 |  | -19.8 |  |  | USGS
|  | water | 8536 | GISP | H2O | -190 |  | -24.8 |  |  | USGS, NIST
|  | water | 8537 | SLAP | H2O | -427.5 |  | -55.5 |  |  | USGS, NIST
|  | water |  | Fiji bottled | H2O | -41.79 |  | -5.31 |  |  | internal
|  | water |  | EUG tap water | H2O | -81.15 |  | -10.68 |  |  | internal
|  | water |  | Faribanks | H2O | -154.75 |  | -19.37 |  |  | internal
Other
|  | polyethylene | 8540 | IAEA-CH-7 |  | -100 | -32.15 |  |  |  | NIST
|  | Na-bicarb |  | SB08 |  |  | -2.84 | 14.77 |  |  | Internal
Lab Gas
|  | CO2 Oztech |  |  | CO2 |  | -44.32 | 9.35
|  | CO2 tank - original |  |  | CO2 |  | -35.84 | 35.712
|  | CO2 tank - 2015-Sept-16 (see below) |  |  | CO2 |  | -35.94 | 35.0933
|  | Lavender tank 2012-Jan-09 |  |  | CO2 |  | -35.898 | 35.0892
|  | Lavender tank 2014-Nov-18 |  |  | CO2 |  | -35.907 | 35.0113
|  | Lavender tank 2015-Sept-16 |  |  |  |  | -35.94 | 35.0933
|  | Lavender tank 2016-Oct-14 |  |  |  |  | -35.95 | 35.09
|  | Lavender tank 2020-May-26 |  |  |  |  | -35.909 | 35.472
|  | Lavender tank 2020-Dec-01 |  |  |  |  | -35.9102 | 35.4363 | measured with Ellen's tank, never used in Isodat
|  | Lavender tank 2022-Aug-31 |  |  |  |  | -35.9042 | 35.7233
|  | Airgas calibration He + 0.3% CO2 |  |  | He+CO2 |  |  | -12.21
|  | CO Ottawa |  |  | CO |  | -55.5 | -5.5
|  | CO tank |  |  | CO |  |  | 9.05
|  | H2 Oztech |  |  | H2 | -128.01
|  | H2 tank |  |  | H2 | -243.448
|  | O2 UW filled Feb 2020 |  |  | O2 |  |  | -8.636 |  | -4.5344
|  | O2 green tank vs. UW Feb 19 2020 |  |  | O2 |  |  | 25.955 |  | 13.164
|  | O2 green tank vs. UW Nov 23 2020 |  |  | O2 |  |  | 25.92 |  | 13.171
|  | O2 green tank vs. UW Mar 30 2023 |  |  | O2 |  |  | 25.863 |  | 13.124 | avg of 12

## DIC
SB08
| d13C | # reps
2008-10-14 | -2.87 | 5 | -14.35 |  | 5 reps | solid
2008-10-16 | -2.84 | 4 | -11.36 |  | 4 reps | solid
2020-10-19 | -2.8075 | 3 | -8.4225 |  | 3 reps | solid
| sum | 12 | -34.1325
| average |  |  | -2.8444